T&SC Modifications Committee

# Final Recommendation Report (FRR)

# Mod_43_10:

Variable Price Taker Generator Units and Firm Access

# Version 2.0

20 April 2011

Table of Contents

1.	Background	4

2.	Purpose of Proposed Modification	4

2a. Justification for Modification (Taken from Modification Proposal Version 3)	4

2b. Impact of not implementing a solution	4

3.	Impact on Code Objectives	4

4.	Development Process	4

5.	Assessment of Alternatives	5

6.	Working Group and/or Consultation	5

7.	Impact on other Codes/Documents	5

8.	Impact on Systems and Resources	5

9.	Modifications Committee views	5

Recommendation	5

10.	Proposed Legal Drafting	5

11.	Implementation Timescale, Costs and Resources	5

Appendix 1 – Original Proposal	6

Mod_43_10 Variable Price Taker Generator Units and Firm Access	6

Appendix 2- Alternative Proposal V2	9

Mod_43_10_V2 Variable Price Taker Generator Units and Firm Access	9

Appendix 3: Alternative Proposal V3	12

Mod_43_10_V3 Price Taker Generator Units and Firm Access	12

Appendix 4 Appendix attachment accompanying each proposal	16

Extracts from recent relevant regulatory documents	16

- Background

This Modification Proposal was received by the Secretariat on 11th November 2010 and first presented at Meeting 32 of the Modifications Committee on 25th November 2010, where it was agreed to defer the proposal. It was again presented at Meeting 33 on 1st February 2011 where the Committee agreed at the meeting to defer the proposal. The proposal was considered a third time at Extraordinary Meeting 34 on 08th March 2011 where it was voted on.

- Purpose of Proposed Modification

2a. Justification for Modification (Taken from Modification Proposal Version 3)

The Modification Proposal is believed to better facilitate Code Objective 4: “to promote competition in the single electricity wholesale market on the island of Ireland” by ensuring that Price Taker Generator Units are treated in the same way as Price Maker Generator Units when operating in their non-firm region. It is proposed that the requirement set out in the regulatory documents referred to in the Appendix can be met by the changes included in this Modification Proposal.

2b. Impact of not implementing a solution

The Regulatory Authorities’ requirements for the effect of non-firm access for Price Taker Generator Units as set out in their papers SEM-08-002 and SEM-08-127, SEM-09-002, SEM-09-073 and SEM-10-060. The implication of not implementing this modification would be that price takers would continue to receive constrained off payments when dispatched below their availability in their non firm region with the resultant costs to consumers.

- Impact on Code Objectives

This Modification furthers the Code objective 1.3.6:

“to ensure no undue discrimination between persons who are parties to the Code;”

- Development Process

The Modification Proposal was raised by the RAs and proposes changes to Section 5 of the T&SC. Version 1 of the proposal was presented and deferred at Meeting 32 of the Modifications Committee. An action was placed on the RAs to assess the algebra further and on SEMO to initiate an Impact Assessment. SEMO initiated a number of discussions with the vendor on the implementation and associated Impact Assessment pending receipt of the final algebra from the RAs. During this period, discussion took place between RAs and SEMO on the most appropriate wording to achieve the objectives of the Modification Proposal. SEMO highlighted that additional changes would be required beyond those set out in the version 2 submitted for discussion at Meeting 33.

At Meeting 33, at the request of the RAs, SEMO presented draft additional text to be included in version 2 of Modification Proposal. The proposal was deferred and an action was placed on SEMO to verify that the text of the revised Modification Proposal was valid and to procure a full Impact Assessment. An action was placed on the RAs to resubmit this revised text as version 3 of Modification Proposal.

There was discussion as to whether the Modification Proposal could be fast-tracked for inclusion in the October 2011 Release. An option of holding an Extraordinary Meeting was discussed and the Committee deferred the Modification Proposal.

The proposal was discussed at Extraordinary Meeting 34 of the Modifications Committee .

- Assessment of Alternatives

Three versions of the Modification Proposal were assessed over the lifespan of the Modification. See Appendix 2 of this report for alternative versions of the proposal.

- Working Group and/or Consultation

# Working Group/Consultation not considered necessary.

- Impact on other Codes/Documents

No impact on other codes/documents.

- Impact on Systems and Resources

At Extraordinary Meeting 34, SEMO presented the results of the high-level Impact Assessment. The Impact Assessment was classed as a medium change and was seen by the vendor as costing approximately €42,000.

- Modifications Committee views

At Extraordinary Meeting 34, SEMO stated that the Impact Assessment on the revised text had been confirmed by the vendor as a medium change, costing €42,000.

An RA member expressed disappointment that the Modification Proposal was not progressed in sufficient time to be included in the October 2011 release as the revised text under consideration was the same as text previously submitted by the RAs. SEMO highlighted that there were a number of differences between the version 3 of the Modification Proposal and anything that had been previously submitted, notably the changes related to Predictable Price Taker Generator Units and the Schedule Demand calculation.

The Chair expressed concern as to why in the context of the dispatch and scheduling consultation (SEM-10-060) the Modification Proposal is moving forward in isolation when there are other issues still being considered. The Chair also expressed confusion at the ambiguous terminology in the consultation. This concern was echoed by an IWEA observer.

The proposer stated that the proposal had been assessed by the SEM Committee who advised for the Modification Proposal to be progressed separately. The Committee were in favour of voting on the third version of the proposal at Meeting 34.

Recommendation

# This Modification was ‘Recommended for Approval’ by the Modifications Committee by Unanimous Vote as follows:

# Andrew Burke – Generator Member

# Ian Luney - Generator Member

# Dermot Lynch – Supplier Alternate

# Grainne O’Shea- Supplier Member

# Iain Wright - Supplier Member

# William Steele - Supplier Member

- Proposed Legal Drafting

As set out in Mod_43_10_V3 in Appendix 3.

- Implementation Timescale, Costs and Resources

It is recommended that this Modification come into effect on the Trading Day after the Deployment Date of Scheduled Release that includes the required changes to the CMS. It is proposed that this Modification is made on a Trading Day basis.

Appendix 1 – Original Proposal

Mod_43_10 Variable Price Taker Generator Units and Firm Access

| MODIFICATION PROPOSAL FORM |
| --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: | Type of Proposal | Number: |
| Regulatory Authorities | 11 November 2010 | Standard | Mod_43_10 |
| Contact Details for Modification Proposal Originator |
| Name: Juliet Corbett | Telephone number: 00 44 28 9031 1575 | e-mail address: Juliet.corbett@uregni.gov.uk |
| Modification Proposal Title: Variable Price Taker Generator Units and Firm Access |
| Trading and Settlement Code and/or Agreed Procedure change? | TSC |
| Section(s) affected by Modification Proposal: | Section 5 (Table 5.1 only) |
| Version Number of the Code/Agreed Procedure used in Modification drafting: | 7.0 |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |
| Table 5.1 – Source of data for Initial Settlement for each of the Generic Settlement Classes other than Predictable Price Maker Generator Units Category Form of Dispatch Instruction Dispatch Quantity (DQuh) Availability Profile (APuh) Market Schedule Quantity (MSQuh) Autonomous Generator Units N/A Actual Output (AOuh) Actual Output (AOuh) Actual Output (AOuh) Variable Price Taker Generator Units Run Actual Output (AOuh) Actual Output (AOuh) Actual Output AOuh Variable Price Taker Generator Units Unit constrained down in Dispatch Instructions to remain below a level of Output of X MW Time weighted average of (Outturn Availability when not constrained down below X MW, Min{X MW, Outturn Availability} when constrained down below X MW) Max {Actual Output (AOuh), Time weighted average of Outturn Availability} Max {Actual Availability (AOuh), Time weighted average of Outturn Availability} Variable Price Maker Generator Units Run Actual Output (AOuh) Actual Output (AOuh) Calculated by the MSP Software Variable Price Maker Generator Units Unit constrained down in Dispatch Instructions to remain below a level of Output of X MW Time weighted average of (Outturn Availability when not constrained down below X MW, Min{X MW, Outturn Availability} when constrained down below X MW) Max (Actual Output (AOuh), Time weighted average of Outturn Availability) Calculated by the MSP Software Predictable Price Taker Generator Units Any As set out in Section 4 As set out in Section 4 Minimum of Nominated Quantity (NQuh) and Availability Profile (APuh) |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |
| The Modification Proposal is believed to better facilitate Code Objective 4: “to promote competition in the single electricity wholesale market on the island of Ireland” by ensuring that Variable Price Taker Generator Units are treated in the same way as Variable Price Maker Generator Units when operating in their non-firm region. It is proposed that the requirement set out in the regulatory documents referred to in the Appendix can be met by changing “Actual Output” in the MSQuh column of the third row of Table 5.1 referring to Variable Price Taker Generator Units to “Actual Availability”. |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |
| The Regulatory Authorities’ requirements for the effect of non-firm access for Variable Price Taker Generator Units as set out in their papers SEM-08-002 and SEM-08-127, SEM-09-002, SEM-09-073 and SEM-10-060. The implication of not implementing this modification would be that variable price takers would continue to receive constrained off payments when dispatched below their availability in their non firm region with the resultant costs to consumers. |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |

# Appendix 2- Alternative Proposal V2

# Mod_43_10_V2 Variable Price Taker Generator Units and Firm Access

| MODIFICATION PROPOSAL FORM |
| --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: | Type of Proposal (please delete as appropriate) | Number: (to be assigned by Secretariat) |
| Regulatory Authorities | 18 January 2011 | Standard | Mod_43_10_V2 |
| Contact Details for Modification Proposal Originator |
| Name: Juliet Corbett | Telephone number: 00 44 28 9031 1575 | e-mail address: Juliet.corbett@uregni.gov.uk |
| Modification Proposal Title: Variable Price Taker Generator Units and Firm Access |
| Trading and Settlement Code and/or Agreed Procedure change? | TSC |
| Section(s) affected by Modification Proposal: | Section 5 (Table 5.1 only) |
| Version Number of the Code/Agreed Procedure used in Modification drafting: | 7.0 |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |
| Table 5.1 – Source of data for Initial Settlement for each of the Generic Settlement Classes other than Predictable Price Maker Generator Units Category Form of Dispatch Instruction Dispatch Quantity (DQuh) Availability Profile (APuh) Market Schedule Quantity (MSQuh) Autonomous Generator Units N/A Actual Output (AOuh) Actual Output (AOuh) Actual Output (AOuh) Variable Price Taker Generator Units Run Actual Output (AOuh) Actual Output (AOuh) Actual Output AOuh Variable and PredictablePrice Taker Generator Units Unit constrained down in Dispatch Instructions to remain below a level of Output of X MW Time weighted average of (Outturn Availability when not constrained down below X MW, Min{X MW, Outturn Availability} when constrained down below X MW) Max {Actual Output (AOuh), Time weighted average of Outturn Availability} Max(Actual Output (AOuh), (Actual Availability) Variable Price Maker Generator Units Run Actual Output (AOuh) Actual Output (AOuh) Calculated by the MSP Software Variable Price Maker Generator Units Unit constrained down in Dispatch Instructions to remain below a level of Output of X MW Time weighted average of (Outturn Availability when not constrained down below X MW, Min{X MW, Outturn Availability} when constrained down below X MW) Max (Actual Output (AOuh), Time weighted average of Outturn Availability) Calculated by the MSP Software Predictable Price Taker Generator Units Any except Unit constrained down in Dispatch instructions to remain below a level of Output of X MW As set out in Section 4 As set out in Section 4 Minimum of Nominated Quantity (NQuh) and Availability Profile (APuh) |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |
| The Modification Proposal is believed to better facilitate Code Objective 4: “to promote competition in the single electricity wholesale market on the island of Ireland” by ensuring that Variable Price Taker Generator Units are treated in the same way as Variable Price Maker Generator Units when operating in their non-firm region. It is proposed that the requirement set out in the regulatory documents referred to in the Appendix can be met by changing “Actual Output” in the MSQuh column of the third row of Table 5.1 referring to Variable Price Taker Generator Units to “Actual Availability”. |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |
| The Regulatory Authorities’ requirements for the effect of non-firm access for Variable Price Taker Generator Units as set out in their papers SEM-08-002 and SEM-08-127, SEM-09-002, SEM-09-073 and SEM-10-060. The implication of not implementing this modification would be that variable price takers would continue to receive constrained off payments when dispatched below their availability in their non firm region with the resultant costs to consumers. |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |

Appendix 3: Alternative Proposal V3

Mod_43_10_V3 Price Taker Generator Units and Firm Access

| MODIFICATION PROPOSAL FORM |
| --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: | Type of Proposal | Number: |
| Regulatory Authorities | 18 January 2011 | Standard | Mod_43_10_V3 |
| Contact Details for Modification Proposal Originator |
| Name: Juliet Corbett | Telephone number: 00 44 28 9031 1575 | e-mail address: Juliet.corbett@uregni.gov.uk |
| Modification Proposal Title: Price Taker Generator Units and Firm Access |
| Trading and Settlement Code and/or Agreed Procedure change? | TSC |
| Section(s) affected by Modification Proposal: | Section 5 (Table 5.1) Appendix N |
| Version Number of the Code/Agreed Procedure used in Modification drafting: | 8.0 |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |
| Table 5.1 – Source of data for Initial Settlement for each of the Generic Settlement Classes other than Predictable Price Maker Generator Units Category Form of Dispatch Instruction Dispatch Quantity (DQuh) Availability Profile (APuh) Market Schedule Quantity (MSQuh) Autonomous Generator Units N/A Actual Output (AOuh) Actual Output (AOuh) Actual Output (AOuh) Variable Price Taker Generator Units Run Actual Output (AOuh) Actual Output (AOuh) Actual Output (AOuh) Variable Price Taker Generator Units Remain below a level of Output of X MW Time weighted average of (Outturn Availability when not instructed below X MW, Min{X MW, Outturn Availability} when instructed below X MW) Max {Actual Output (AOuh), Time weighted average of Outturn Availability} Actual Availability (AAuh) Variable Price Maker Generator Units Run Actual Output (AOuh) Actual Output (AOuh) Calculated by the MSP Software Variable Price Maker Generator Units Remain below a level of Output of X MW Time weighted average of (Outturn Availability when not instructed below X MW, Min{X MW, Outturn Availability} when instructed below X MW) Max (Actual Output (AOuh), Time weighted average of Outturn Availability) Calculated by the MSP Software Predictable Price Taker Generator Units Any As set out in Section 4 As set out in Section 4 Min{Nominated Quantity (NQuh), Actual Availability (AAuh)} Derivation of Schedule Demand For each Ex-Post Initial MSP Software Run, Schedule Demand in each Trading Period h shall be calculated by the Market Operator as follows: the Actual Output (AOuh) for all Price Maker Generator Units u that are not Under Test; less the summation of all reductions in Output of any Predictable Price Taker Generator Unit, and any Predictable Price Maker Generator Unit that is Under Test, calculated as the difference between: the minimum of Nominated Quantity (NQuh) and the Actual Availability (AAuh) of the relevant Generator Unit for Trading Period h; and the Actual Output (AOuh) of the relevant Generator Unit u for Trading Period h, with increases in Output having the opposite sign; less the summation of all reductions in Output of any Variable Price Taker Generator Unit and any Variable Price Maker Generator Unit that is Under Test, calculated as the difference between: the Actual Availability (AAuh) of the relevant Generator Unit u for Trading Period h; and the Actual Output (AOuh) of the relevant Generator Unit u for Trading Period h, with increases in Output having the opposite sign; plus an estimate of any reduction in demand in Trading Period h as a consequence of Demand Control as set out in the relevant Grid Code; plus the Dispatch Quantity (DQu’h) of each Interconnector Residual Capacity Unit u’ in Trading Period h. |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |
| The Modification Proposal is believed to better facilitate Code Objective 4: “to promote competition in the single electricity wholesale market on the island of Ireland” by ensuring that Price Taker Generator Units are treated in the same way as Price Maker Generator Units when operating in their non-firm region. It is proposed that the requirement set out in the regulatory documents referred to in the Appendix can be met by the changes included in this Modification Proposal. This Modification furthers the Code objective 1.3.6: “to ensure no undue discrimination between persons who are parties to the Code;” |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |
| The Regulatory Authorities’ requirements for the effect of non-firm access for Price Taker Generator Units as set out in their papers SEM-08-002 and SEM-08-127, SEM-09-002, SEM-09-073 and SEM-10-060. The implication of not implementing this modification would be that price takers would continue to receive constrained off payments when dispatched below their availability in their non firm region with the resultant costs to consumers. |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |

Appendix 4 Appendix attachment accompanying each proposal

Extracts from recent relevant regulatory documents

Extract from SEM-08-002, “Wind Generation in the SEM, Policy for Large-Scale, Intermittent Non-Diverse Generation, Discussion Paper”, 11th February 2008:

“The RAs consider that the current TSC rules in relation to the treatment of firm-access, irrespective of the form of registration of a generator, need to be aligned with the overall previously stated policies in this area, such as the SEM High Level Design and decisions regarding the Group Connection Process in Ireland.  The SEM High Level Design Decision Paper (AIP/SEM/42/05) states the following regarding firm access:

Where deep reinforcements are not complete it is expected that a plant will be granted Firm Physical Capacity for a portion of Maximum Export Capacity (MEC). The plant will then receive Firm Physical Access and constraint off payments for the portion of their plant with Firm Physical Access. The plant will receive non-firm physical access for the remainder of the MEC and no off constraint payments until deep reinforcements are complete and the plant is then given firm physical access. It should be noted that the

level of firm physical capacity may change as and when deep reinforcements come on stream.

The SEM High Level Design is reflected in the TSC for Price Makers as they may only receive a market schedule, impact on price and receive constraint payments to the level of their firm access. This has not been reflected yet in the TSC with regard to Price Takers. The RAs intend to amend the Trading and Settlement Code to reflect this policy decision as soon as practical and to ensure that Price Taker generators will only receive constraint payments to the extent that they are constrained down below the level of their firm access.”

Extracts from SEM-08-127, “Wind Generation in the SEM: policy for Large-Scale, Intermittent, Non-Diverse Generation, Initial Response to Comments and Next Steps”, 23 September 2008.

From paragraph 4.3: “In the discussion paper, it was noted that one area in particular – the treatment of firm access for Price Taker generators – had been identified as being implemented in a manner that is contrary to stated policy. It was indicated in the discussion paper that a modification proposal to the SEM TSC would be raised to resolve this issue. It is noted that the stated policy in this area was the subject of consultation previously. This was the only matter referred to in the discussion paper where a decision has been made by the RAs and this was clearly stated in the paper.”

Extract from SEM-09-073:”Proposal: If any of the options in Section 4.5, for allocating infra-marginal rents behind export constraints, is adopted then that option should apply also to Variable Price Takers. If none of these options is adopted and the existing arrangements for allocating infra-marginal rents being export constraints retained, then Variable Price Takers should be limited in the market schedule to the maximum of actual output and FAQ (or MEC when infrastructure works are complete and the VPT becomes fully firm).”

Extract from SEM-10-060:”The proposal in the Consultation Paper will be followed. Changes to the Trading and Settlement Code will be progressed to align the treatment of Price Taking and Price Making generators as per the Consultation Paper.”

# Footnotes

For example, CER/06/112