| Impact Assessment and Implementation Form (TO BE COMPLETED BY Modifications Committee) |
| --- |
| Modification Reference: | Mod_05_08 Version 2 |
| Impact Assessment Performed by: | Modification Meeting Approval |
| Name: | Denis Kelly | Meeting: | Mod_05_08 Working Group |
| Date: | 24th April 08 | Date: | 21st April 08 |
| Party/ Participant | NIE T&D Meter Data Provider | Comment | This assessment covers those impacts on NIE MDP systems and processes only. |
| Impact Assessment Summary The inclusion of an Aggregated Generator Unit in SEM will impact on NIE T&D’s physical metering installations and will require the establishment of additional generator MPRNs in the retail system. Connection agreements will be unaffected and the task of fulfilling the requirements of this mod will primarily involve administrative effort rather than changes to IT systems. |
| System or Software Impacts There will be no requirements for new systems or software. For completeness however, the metering fieldwork impact is listed. |
| Item | Detailed description |
| 1. Field Work | It will be necessary to install a Grid Code compliant metering system and communications for each of the installed generators or ensure that any existing meters are compliant. These meters are in addition to the existing on site Tariff meters. For calculation purposes 300 sites are assumed. As with any Supplier driven metering initiative, they will be funded by the Supplier. |
| Business Process Impacts |
| Item | Detailed description |
| 1. MPRN Set Up | For each generator a new MPRN will be set up in the T&D retail billing system on receipt of completed Generator Nomination Forms and prior to any metering fieldwork. |
| 2. Field Work Admin | Meters will be installed on site and linked to the associated new MPRNs in the T&D retail billing system. |
| 3. DA Set Up | The Aggregated Generator Unit will be set up in DA with an effective date advised by SEMO. Some minor changes and checks will be required to DA internal reports. |
| 4. Polling | The Generator meter will be dual polled by both SONI and NIE MDP. Synchronisation of this activity will be required. |
| Documentation Impact |
| Item | Detailed description |
| 1. Business Process | Minor changes required to internal business process documentation. |
| Impact Summary This change has a low impact on NIE T&D MDP. It requires initial set up effort but very little activity on an ongoing basis. |
| New Modules Not Applicable | Modified Modules Not Applicable |
| e.g. | S | M | C | V | S | M | C | V |
| Totals: |  |  |  |  |  |  |  |  |
| Note: S=Simple, M=Medium, C=Complex, V=Very Complex. |
| Proposed Modification Estimated Cost This section contains a summary of the cost associated with implementing the proposed modification(s). |
| Item | Description | Cost (€) | Total |
| 1. | Administration & Data Prep | 30k | 30k |
| Proposed Modification Estimated Effort Time This section contains details of the effort time required to implement the proposed modification(s). |
| Description | Effort Time (man days) | Total |  |
| Administration & Data Prep | Approx 25 Days | 25 Days |  |
| Expected Implementation Date: If different from above |
| 31st July 2008 |