## KIR
SEMO
Known Issues Report
2025-03-14
Balancing Market
ID | Name | Description | Impact to Market Participants | Status | Resolution Date | Release Date | Release Version | Date Added | Date Modified
147498 (5977) | REPT_082 | REPT_082 PUB_AvgOutturnAvail is publishing data for de-registered units | May cause issues for Market Participants that are validating against PUB_DailyRegisteredUnits | Partially Resolved | Release: not applicable Resolution: Workaround to cross check REPT_082 against PUB_DailyRegisteredUnits report | TBC | TBC | 2019-03-29 | 2022-09-20
271634 | Incorrect application of PBOA in Imbalance Pricing for Pump Storage Units. | Imbalance Pricing is applying a zero PBOA for Pump Storage units when dispatched from a negative PN to zero MW; where no zero quantity has been submitted in the Price Quantity Pairs. | Incorrect PBOA values being applied, resulting in impact to Imbalance Price. Note: A workaround is currently under consideration. | Partially Resolved | Release: Targetting Release N Partially resolved in Release K, further fix required Resolution: Software update from vendor | 2025-04-01 | N | 2022-10-05 | 2024-10-11
146609 & 146809 | Long Notice Adjustment Factor (LNAF) and System Imbalance Flattening Factor (SIFF) – Parameter defect in the Scheduling Process. | When turned ON and set to non-zero values in the schedulers within the Market Management System (MMS), the LNAF and SIFF weighting applied to the start costs of generators does not calculate correctly. | Currently there is no impact on market participants as the parameters are set to zero as agreed with the regulators and have no effect on the scheduling process. | In Analysis | Release: TBC Resolution: | TBC | TBC | Friday 5 August 2022 | 2022-09-20
1192715 | Soak Time at Minimum Stable Generation Not Being Profiled | Soak Time at Minimum Stable Generation is not being profiled in closing of a SYNC instruction. | Limited impact, only one unit with TOD that meets this criteria; all other units have Soak Time Quantities less than Minimum Stable Generation. | In Analysis | Release: TBC Resolution: Referred to vendor | TBC | TBC | Friday 9th December 2022 | Friday 16 June 2023
1305326 | Incorrect application of PSYI Internal Pseudo Instruction in closing SYNC Profile. | PYSI incorrectly closing to FPN at target MWOF level, rather than when Minimum Stable Generation has been reached. Impacts on units with zero Min On Time. | May result in incorrect QBOA profiles, in the scenario where a MWOF has been issued greater than Minimum Stable Generation before SYNC profile has closed. | In Analysis | Release: TBC Resolution: Referred to vendor | TBC | TBC | Friday 9th December 2022 | Friday 16 June 2023
1305301 | Incorrect Heat State Application in Imbalance Pricing | Incorrect Heat State being applied within Initial Conditions after Imbalance Price is missed. | May result in incorrect QBOA profile, if unit has not reached Minimum Stable Generation. | In Analysis | Release: TBC Resolution: Referred to vendor | TBC | TBC | Friday 9th December 2022 | Friday 16 June 2023
333585 | Type 3 download issue impacting Pub_DailyLoadFcst Report from the MPI. | An MPI defect is impacting the ability to download the Pub_DailyLoadFcst Report via Type 3 communication channel. | The report is available to download directly from SEMO Website. | In Analysis | Release: TBC Resolution: Referred to vendor | TBC | TBC | 2023-12-15
374599 | Incorrect calculation of Net Imbalance Volume | QBOA for units registered as fuel type “wind” sporadically drop out of Imbalance Pricing. This happens immediately after an Imbalance Pricing outage, and impacts isolated Imbalance Pricing Periods. | Incorrect calculation of the Net Imbalance Volume and Imbalance Price. | In Analysis | Release: TBC Resolution: Referred to vendor | TBC | TBC | 2025-02-14
SEMO Settlement
ID | Name | Description | Impact to Market Participants | Status | Resolution Date | Release Date | Release Version | Date Added | Date Modified
146559 (236999) | Incorrect DQ calculation for Interconnectors, feeding to settlement | Workaround implemented in settlements so no impact on PTs,Linked to new defect 236999 - DA and IDT Push only brings through positive values for IC; | I/C BOA volumes may be incorrect in a small specific number of scenarios affecting BALIMB Settlement amounts | Partially Resolved | Release: TBC Partially resolved in Release K, further fix required Resolution: Software update from vendor | TBC | TBC | 2020-12-04 | 2023-09-15
147496 (5980) | CRM Unit Capacity values being knocked off following Reg import due to overlapping date ranges | A number of unit CRM Unit capacity is being set to zero following the import of registration data. This is due to a system defect of how it handles overlapping dates | Where the CRM unit capacity was replaced with a zero due to overlapping dates, Capacity payments will not have been calculated due to missing qCCOMMISS value | In Analysis | Release TBC Resolution: Software update from vendor | TBC | TBC | 2019-05-17 | 2022-09-20
146871 | Incorrect Instruction Profile created | Incorrect Instruction Profile created I scenarios being investigated by the Vendor (ABB) | BOA volumes may be incorrect in a small specific number of scenarios affecting BALIMB Settlement amounts | In Analysis | Release: TBC Resolution: Under investigation by vendor | TBC | TBC | 2020-12-04 | 2022-09-20
146857 | Process does not allow TOD to change | Process does not allow TOD to change on 23:00 (currently a single TOD set per settlement day only is facilitated) | No effect on BALIMB settlement amounts to date | In Analysis | Release: TBC Resolution: Under investigation by MO and vendor | TBC | TBC | 2020-12-04 | 2022-09-20
320583 | QBOA for Wind Units | A change in the Instruction Profile was not captured in the ordering profile. | A change availability was not picked up mid-way through an Imbalance Settlement Period. As this was not captured correctly, it resulted in incorrect QBOA values. | In Analysis | Release: TBC Resolution: Under investigation by vendor | TBC | TBC | 2023-09-15
318254 | Incorrect Loss factor for QCNET Calculation | We identified differences in the calculation of Net Capacity Quantity (QCNET) due to a defect whereby the Loss Factor (LF) for CAUs is being determined incorrectly. | Incorrect loss factor applied to CAU during high price events | In Analysis | Release: Targetting Release N Resolution: Software update from vendor | 2025-04-01 | N | 2023-09-15 | 2024-10-11
20240711-6323150 | Application of incorrect Fixed Costs (Multiple Complex COD submission for a single trade day) | We have identified instances where the system has accepted and incorrectly applied fixed costs submitted post-gate closure. | Incorrect Fixed costs applied in CFC Settlement when multiple fixed costs submissions were made for a single trade day. | In Analysis | Release: TBC Resolution: | TBC | TBC | Friday 14th March 2025
New/ Modified this week
Closed This week