## Overview
This document is required to be completed, in full, in order to register in the SEM. Information on the SEM Registration requirements can be found under Section 2 (T&SC) - Legal and Governance, Appendix H - Participant and Unit Registration and De-Registration and Appendix I - Offer Data of the T&SC.
General Information
This section contains mailing and billing address details, along with VAT details
Registration Data
This section contains the proposed unit name, as well as, key information on the Generator Unit
VTOD Data
This section contains Validation Technical Offer Data requirements in line with 3.42A - 3.42O (T&SC) and Appendix I - Offer Data
All areas highlighted within each tab are required to be completed, otherwise the unit data spreadsheet shall be deemed to be incomplete.

## General Information
Application Information - General Information
Participant Name |  | Mandatory
Accounts Manager |  | Mandatory
Associated Party (PY_ID) |  | Mandatory
Existing Participant ID (CP_ID) |  | Optional
Existing Account ID (PT_ID) |  | Optional
Mailing Address Details
Mailing Address Line 1 |  | Mandatory
Mailing Address Line 2 |  | Mandatory
City |  | Mandatory
County |  | Mandatory
Postcode |  | Mandatory
Country |  | Mandatory
Company Telephone Number |  | Mandatory
Company Fax Number |  | Optional
Company Email Address |  | Mandatory
Billing Address Details
Is the billing address the same as mailing address |  | Mandatory
Invoice / Billing Address Line 1 |  | Mandatory
Invoice / Billing Address Line 2 |  | Mandatory
City |  | Mandatory
County |  | Mandatory
Postcode |  | Mandatory
Country |  | Mandatory
VAT Details
VAT Number |  | Mandatory
VAT Status |  | Mandatory
VAT Tax Jurisdiction of Unit |  | Mandatory
Registered Jurisdiction of Company associated with Participant |  | Mandatory
Application Information - Main Contact and User Information
Main Contact Address Details
Name |  | Mandatory
Position |  | Mandatory
Login ID | MAIN_USER | Mandatory
Is the main contact address the same as mailing address |  | Mandatory
Mailing Address Line 1 |  | Mandatory
Mailing Address Line 2 |  | Mandatory
City |  | Mandatory
County |  | Mandatory
Postcode |  | Mandatory
Country |  | Mandatory
Main Contact Number |  | Mandatory
Mobile Number |  | Optional
Email Address |  | Mandatory

## Registration Data
Facility Information
Proposed Unit Name |  | Mandatory
Proposed Effective Date |  | Mandatory
Facility Type |  | Mandatory
Connection Point of Station / Node |  | Mandatory
Connection Type |  | Mandatory
Unit Connection Agreement / DG Number |  | Mandatory
CCQT |  | Mandatory
Physical Jurisdiction of Unit |  | Mandatory
License Effective Date |  | Mandatory
License Expiry Date |  | Mandatory
Data Exchange Test Flag |  | Mandatory
Station ID |  | Mandatory
Station Name |  | Mandatory
Station Address |  | Mandatory
Previously Registered Flag |  | Mandatory
Previously Registered Unit Name |  | Mandatory
Previously Registered Participant Name |  | Mandatory
Netting Generator Flag |  | Mandatory
Pumped Storage Flag |  | Mandatory
Energy Limited Flag |  | Mandatory
Generation License |  | Mandatory
TUoS Agreement |  | Mandatory
Dual Rated Unit Flag
Secondary Fuel Type
Minimum Generator Capacity
Unit Location ID
Physical Location ID
End Point of Start Up Period
Acting as Intermediary |  | Mandatory
Type Of Credit |  | Optional
Generator Information
Firm Access
Trading Site |  | Mandatory
Existing Trading Site Trading Site ID |  | Mandatory
List unit IDs under existing Trading Site |  | Mandatory
Trading Site FAQ |  | Mandatory
Registered Firm Capacity Unit Level |  | Mandatory
Non Firm Capacity Unit Level |  | Mandatory
Technical Information
Priority Dispatch Flag |  | Mandatory
Fuel Type |  | Mandatory
Registered Capacity (Maximum Generation) |  | Mandatory
Minimum Generation Capacity |  | Mandatory
Maximum Export Capacity (MEC) |  | Mandatory
Renewable Energy
Is the unit in receipt of Support Scheme Payment? |  | Mandatory
More Information - Contact: | guaranteesoforigin@sem-o.com | Mandatory

## VTOD Data
Paramter Type | DATABASE_PARAMETER | Value | Set 1 | Set 2 | Set 3 | Set 4 | Set 5 | Set 6
Cooling Boundaries and Start Up Times
Cooling Boundary Details - Hot | COOLING_BOUNDARY_TIME_HOT | Hours | 0 | 0 | 0 | 0 | 0 | 0
Cooling Boundary Details - Warm | COOLING_BOUNDARY_TIME_WARM | Hours | 0 | 0 | 0 | 0 | 0 | 0 | Set Number | Set Description
Cooling Boundary Details - Cold | COOLING_BOUNDARY_TIME_COLD | Hours | 0 | 0 | 0 | 0 | 0 | 0 | Set 1 | e.g. CCGT
Start Up Time Details - Hot | STARTUP_TIME_HOT | Hours | 0 | 0 | 0 | 0 | 0 | 0 | Set 2 | e.g. OCGT
Start Up Time Details - Warm | STARTUP_TIME_WARM | Hours | 0 | 0 | 0 | 0 | 0 | 0 | Set 3 | e.g. running on Distillate Fuel
Start Up Time Details - Cold | STARTUP_TIME_COLD | Hours | 0 | 0 | 0 | 0 | 0 | 0 | Set 4
On Off Times | [8 empty] | Set 5
Min On Time | MIN_ON_TIME | Hours | 0 | 0 | 0 | 0 | 0 | 0 | Set 6
Max On Time | MAX_ON_TIME | Hours | 9999 | 9999 | 9999 | 9999 | 9999 | 9999
Min Off Time | MIN_OFF_TIME | Hours | 0 | 0 | 0 | 0 | 0 | 0
Block Loading
Block Loading Flag | BLOCK_LOAD_FLAG | Yes / No
Block Loading Flag - Hot | BLOCK_LOAD_HOT | MW | 0 | 0 | 0 | 0 | 0 | 0
Block Loading Flag - Warm | BLOCK_LOAD_WARM | MW | 0 | 0 | 0 | 0 | 0 | 0
Block Loading Flag - Cold | BLOCK_LOAD_COLD | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Break Points and Rates
Load Up Hot Details - Rate 1 | LOAD_UP_RATE_HOT_1 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Hot Details - Rate 2 | LOAD_UP_RATE_HOT_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Hot Details - Rate 3 | LOAD_UP_RATE_HOT_3 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Hot Details - Quantity 2 | LOAD_UP_QUANTITY_HOT_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Hot Details - Quantity 3 | LOAD_UP_QUANTITY_HOT_3 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Warm Details - Rate 1 | LOAD_UP_RATE_WARM_1 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Warm Details - Rate 2 | LOAD_UP_RATE_WARM_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Warm Details - Rate 3 | LOAD_UP_RATE_WARM_3 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Warm Details - Quantity 2 | LOAD_UP_QUANTITY_WARM_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Warm Details - Quantity 3 | LOAD_UP_QUANTITY_WARM_3 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Cold Details - Rate 1 | LOAD_UP_RATE_COLD_1 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Cold Details - Rate 2 | LOAD_UP_RATE_COLD_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Cold Details - Rate 3 | LOAD_UP_RATE_COLD_3 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Cold Details - Quantity 2 | LOAD_UP_QUANTITY_COLD_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Load Up Cold Details - Quantity 3 | LOAD_UP_QUANTITY_COLD_3 | MW | 0 | 0 | 0 | 0 | 0 | 0
Soak Times and Quantities
Soak Hot Details Hot - Time 1 | SOAK_TIME_HOT_1 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Hot - Time 2 | SOAK_TIME_HOT_2 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Hot - Quantity 1 | SOAK_TIME_QUANTITY_HOT_1 | MW | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Hot - Quantity 2 | SOAK_TIME_QUANTITY_HOT_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Warm - Time 1 | SOAK_TIME_WARM_1 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Warm - Time 2 | SOAK_TIME_WARM_2 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Warm - Quantity 1 | SOAK_TIME_QUANTITY_WARM_1 | MW | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Warm - Quantity 2 | SOAK_TIME_QUANTITY_WARM_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Cold - Time 1 | SOAK_TIME_COLD_1 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Cold - Time 2 | SOAK_TIME_COLD_2 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Cold - Quantity 1 | SOAK_TIME_QUANTITY_COLD_1 | MW | 0 | 0 | 0 | 0 | 0 | 0
Soak Hot Details Cold - Quantity 2 | SOAK_TIME_QUANTITY_COLD_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Deloading
Deloading Details - Rate 1 | DELOAD_RATE_1 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Deloading Details - Rate 2 | DELOAD_RATE_2 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Deloading Details - Quantity 2 | DELOAD_QUANTITY_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Minimum Stable Generation
Min Stable Generation - Quantity | MIN_STABLE_GEN | MW | 0 | 0 | 0 | 0 | 0 | 0
Ramp Up Rates
Max Ramp Rate Details - Up | MAX_RAMP_UP | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Up Details - Rate 1 | RAMP_UP_RATE_1 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Up Details - Rate 2 | RAMP_UP_RATE_2 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Up Details - Rate 3 | RAMP_UP_RATE_3 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Up Details - Rate 4 | RAMP_UP_RATE_4 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Up Details - Rate 5 | RAMP_UP_RATE_5 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Up Details - Quantity 2 | RAMP_UP_QUANTITY_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Up Details - Quantity 3 | RAMP_UP_QUANTITY_3 | MW | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Up Details - Quantity 4 | RAMP_UP_QUANTITY_4 | MW | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Up Details - Quantity 5 | RAMP_UP_QUANTITY_5 | MW | 0 | 0 | 0 | 0 | 0 | 0
Dwell Up Times
Dwell Time Details - Time 1 | DWELL_TIME_1 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Dwell Time Details - Time 2 | DWELL_TIME_2 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Dwell Time Details - Time 3 | DWELL_TIME_3 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Dwell Time Details - Quantity 1 | DWELL_TIME_QUANTITY_1 | MW | 0 | 0 | 0 | 0 | 0 | 0
Dwell Time Details - Quantity 2 | DWELL_TIME_QUANTITY_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Dwell Time Details - Quantity 3 | DWELL_TIME_QUANTITY_3 | MW | 0 | 0 | 0 | 0 | 0 | 0
Ramp Down Rates
Max Ramp Rate Details - Down | MAX_RAMP_DOWN | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Down Details - Rate 1 | RAMP_DOWN_RATE_1 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Down Details - Rate 2 | RAMP_DOWN_RATE_2 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Down Details - Rate 3 | RAMP_DOWN_RATE_3 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Down Details - Rate 4 | RAMP_DOWN_RATE_4 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Down Details - Rate 5 | RAMP_DOWN_RATE_5 | MW / mins | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Down Details - Quantity 2 | RAMP_DOWN_QUANTITY_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Down Details - Quantity 3 | RAMP_DOWN_QUANTITY_3 | MW | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Down Details - Quantity 4 | RAMP_DOWN_QUANTITY_4 | MW | 0 | 0 | 0 | 0 | 0 | 0
Ramp Rate Down Details - Quantity 5 | RAMP_DOWN_QUANTITY_5 | MW | 0 | 0 | 0 | 0 | 0 | 0
Dwell Down Times
Dwell Time Details - Time 1 | DWELL_TIME_DOWN_1 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Dwell Time Details - Time 2 | DWELL_TIME_DOWN_2 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Dwell Time Details - Time 3 | DWELL_TIME_DOWN_3 | Mins | 0 | 0 | 0 | 0 | 0 | 0
Dwell Time Details - Quantity 1 | DWELL_TIME_DOWN_QUANTITY_1 | MW | 0 | 0 | 0 | 0 | 0 | 0
Dwell Time Details - Quantity 2 | DWELL_TIME_DOWN_QUANTITY_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Dwell Time Details - Quantity 3 | DWELL_TIME_DOWN_QUANTITY_3 | MW | 0 | 0 | 0 | 0 | 0 | 0
Forbidden Zones
Restricted Region Details - Start Range 1 | START_FORBIDDEN_RANGE_1 | MW | 0 | 0 | 0 | 0 | 0 | 0
Restricted Region Details - End Range 1 | END_FORBIDDEN_RANGE_1 | MW | 0 | 0 | 0 | 0 | 0 | 0
Restricted Region Details - Start Range 2 | START_FORBIDDEN_RANGE_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Restricted Region Details - End Range 2 | END_FORBIDDEN_RANGE_2 | MW | 0 | 0 | 0 | 0 | 0 | 0
Short Term Maximisation
Short Term Max - Quantity | SHORT_TERM_MAX_CAP_MW | MW | 0 | 0 | 0 | 0 | 0 | 0
Short Term Max - Time | SHORT_TERM_MAX_CAP_TIME | MW | 0 | 0 | 0 | 0 | 0 | 0
Note on C10: The duration in hours off load that indicates the standby status change of the unit from Hot to Warm.
Note on C11: The duration in hours off load that indicates the standby status change of the unit from Warm to Cold.
Note on C12: Minimum synchronization time in cold state
Note on C13: Notification/Start-up times in hours for hot state
Note on C14: Notification/Start-up times in hours for warm state
Note on C15: Notification/Start-up times in hours for cold state
Note on C17: Minimum time (in Hours) that must elapse from the time a Generation Unit is instructed to start-up before it can be instructed to shutdown.
Note on C18: Maximum time (in Hours) that can be elapse from the time a Generation Unit is instructed to startup and run continuously before it must be instructed to shutdown.
Note on C19: Minimum time (Hours) that a Generation Unit must remain producing no Active Power commencing at the time when it first stops producing no Active Power.
Note on C21: Will be “Yes” or “No”, depending on whether the Unit has block loading characteristics
Note on C22: Block Load in MW when the unit is in a hot state
Note on C23: Block Load in MW when the unit is in a warm state
Note on C24: Block Load in MW when the unit is in a cold state
Note on C26: First point of Load up rates between load up break points expressed in MW/min for Hot state.
Note on C27: Second point of Load up rates between load up break points expressed in MW/min for Hot state.
Note on C28: Third point of Load up rates between load up break points expressed in MW/min for Hot state.
Note on C29: MW breakpoint below which Hot State Load Up Rate 1 applies and above which Hot State Load Up Rate 2 applies when in a Hot state.
Note on C30: MW breakpoint below which Hot State Load Up Rate 2 applies and above which Hot State Load Up Rate 3 applies when in a Hot state.
Note on C31: First point of Load up rates between load up break points expressed in MW/min for Warm state.
Note on C32: Second point of Load up rates between load up break points expressed in MW/min for Warm state.
Note on C33: Third point of Load up rates between load up break points expressed in MW/min for Warm state.
Note on C34: MW breakpoint below which Warm State Load Up Rate 1 applies and above which Warm State Load Up Rate 2 applies when in a Hot state.
Note on C35: MW breakpoint below which Warm State Load Up Rate 2 applies and above which Warm State Load Up Rate 3 applies when in a Hot state.
Note on C36: First point of Load up rates between load up break points expressed in MW/min for Cold state.
Note on C37: Second point of Load up rates between load up break points expressed in MW/min for Cold state.
Note on C38: Third point of Load up rates between load up break points expressed in MW/min for Cold state.
Note on C39: MW breakpoint below which Cold State Load Up Rate 1 applies and above which Cold State Load Up Rate 2 applies when in a Hot state.
Note on C40: MW breakpoint below which Cold State Load Up Rate 2 applies and above which Cold State Load Up Rate 3 applies when in a Hot state.
Note on C42: First point of the Soak Time associated with Trigger point in hot state. Soak times used during start up. (Mins)
Note on C43: Second point of the Soak Time associated with Trigger point in hot state. Soak times used during start up. (Mins)
Note on C44: First trigger points for soak times in Hot state expressed in MW
Note on C45: Second trigger points for soak times in Hot state expressed in MW
Note on C46: First point of the Soak Time associated with Trigger point in warm state. Soak times used during start up. (Mins)
Note on C47: Second point of the Soak Time associated with Trigger point in warm state. Soak times used during start up. (Mins)
Note on C48: First trigger points for soak times in Warm state expressed in MW
Note on C49: Second trigger points for soak times in Warm state expressed in MW
Note on C50: First point of the Soak Time associated with Trigger point in cold state. Soak times used during start up. (Mins)
Note on C51: Second point of the Soak Time associated with Trigger point in cold state. Soak times used during start up. (Mins)
Note on C52: First trigger points for soak times in Cold state expressed in MW
Note on C53: Second trigger points for soak times in Cold state expressed in MW
Note on C55: First point of the deload rate curve from end point of start up period to deloading break point to zero expressed in MW/min.
Note on C56: Second point of the deload rate curve from end point of start up period to deloading break point to zero expressed in MW/min. Deloading Rate in MW/min that applies for a Unit below Minimum Stable Generation beyond DELOAD_BREAK_PT
Note on C57: Deloading break expressed in MW.
Note on C59: Minimum stable generation level, in MW, that the unit is capable of producing.
Note on C61: Maximum Ramp Up Rate (MW/min)
Note on C62: First point of Ramp Up Curve (MW/min).
Note on C63: Second point of Ramp Up Curve (MW/min).
Note on C64: Third point of Ramp Up Curve (MW/min).
Note on C65: Fourth point of Ramp Up Curve (MW/min).
Note on C66: Fifth point of Ramp Up Curve (MW/min).
Note on C67: First break point of the Ramp Up Curve (MW)
Note on C68: Second break point of the Ramp Up Curve (MW)
Note on C69: Third break point of the Ramp Up Curve (MW)
Note on C70: Fourth break point of the Ramp Up Curve (MW)
Note on C72: First point of the Dwell Times associated with Trigger point for Dwell Times in minutes.
Note on C73: Second point of the Dwell Times associated with Trigger point for Dwell Times in minutes.
Note on C74: Third point of the Dwell Times associated with Trigger point for Dwell Times in minutes.
Note on C75: First trigger points for Dwell times in MW.
Note on C76: Second trigger points for Dwell times in MW.
Note on C77: Third trigger points for Dwell times in MW.
Note on C79: Maximum Ramp Down Rate (MW/min)
Note on C80: First point of Ramp Down Curve (MW/min).
Note on C81: Second point of Ramp Down Curve (MW/min).
Note on C82: Third point of Ramp Down Curve (MW/min).
Note on C83: Fourth point of Ramp Down Curve (MW/min).
Note on C84: Fifth point of Ramp Down Curve (MW/min).
Note on C85: First break point of the Ramp Down Curve (MW)
Note on C86: Second break point of the Ramp Down Curve (MW)
Note on C87: Third break point of the Ramp Down Curve (MW)
Note on C88: Fourth break point of the Ramp Down Curve (MW)
Note on C90: First point of the Dwell Times associated with Trigger point for Dwell Times in minutes.
Note on C91: Second point of the Dwell Times associated with Trigger point for Dwell Times in minutes.
Note on C92: Third point of the Dwell Times associated with Trigger point for Dwell Times in minutes.
Note on C93: First trigger points for Dwell times in MW.
Note on C94: Second trigger points for Dwell times in MW.
Note on C95: Third trigger points for Dwell times in MW.
Note on C97: MW level where restricted loading range (A) starts. Unit must move through this range as quickly as possible.
Note on C98: MW level where restricted loading range (A) ends. Unit must move through this range as quickly as possible.
Note on C99: MW level where restricted loading range (B) starts. Unit must move through this range as quickly as possible.
Note on C100: MW level where restricted loading range (B) ends. Unit must move through this range as quickly as possible.
Note on C102: Capacity above MAXGEN that can be sustained for a finite period of time (MW)
Note on C103: The duration in hours representing the length of time that Short-Term Maximisation can be sustained.

## Forecasting Information
Forecasting Information
Parameter | Value | Unit
Installed Capacity |  | MW
Latitude |  | Decimal Degree
Longitude |  | Decimal Degree
Turbine Manufacturer
Number of Turbines
Turbine Model
Turbine Size |  | MW
Turbine Hub Height |  | Metres
Additional Turbine A. If there is more than 1 turbine type installed
Turbine Manufacturer 2
Number of Turbines 2
Turbine Model 2
Turbine Size 2 |  | MW
Turbine Hub Height 2 |  | Metres
Additional Turbine B. If there are more than 2 turbine types installed
Turbine Manufacturer 3
Number of Turbines 3
Turbine Model 3
Turbine Size 3 |  | MW
Turbine Hub Height 3 |  | Metres
Additional Turbine C. If there are more than 3 turbine types installed
Turbine Manufacturer 4
Number of Turbines 4
Turbine Model 4
Turbine Size 4 |  | MW
Turbine Hub Height 4 |  | Metres
Additional Turbine D. If there are more than 4 turbine types installed
Turbine Manufacturer 5
Number of Turbines 5
Turbine Model 5
Turbine Size 5 |  | MW
Turbine Hub Height 5 |  | Metres